## Sheet1
Sample | [6 empty] | Metal_A [ He ] |  |  | Metal_B [ He ] |  |  | Metal_C [ He ] |  |  | Metal_D [ He ] |  |  | Metal_E [ He ] |  |  | Metal_F [ He ] |  |  | Metal_G [ He ] |  |  | Metal_H [ He ] |  |  | Metal_I [ He ] |  |  | Metal_J [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD
| FALSE | 0.d | 2024-09-04 10:01 | CalStd | 1 | 0 | 0 | 2029.05 | 5.05 | 0 | 166.67 | 23.07 | 0 | 184.45 | 6.35 | 0 | 1976.82 | 4.62 | 0 | 2815.85 | 5.76 | 0 | 22.22 | 48.22 | 0 | 4.45 | 86.6 | 0 | 13.33 | 25.01 | 0 | 42.22 | 16.43 | 0 | 94.45 | 24.02
| FALSE | 1.d | 2024-09-04 10:04 | CalStd | 2 | 1 | 0.99 | 2781.4 | 6 | 1.02 | 54633.86 | 1.59 | 1.05 | 14524.11 | 2.62 | 1.07 | 41279.39 | 0.61 | 2.16 | 17341.18 | 3.31 | 0.96 | 44587.6 | 1.72 | 1.04 | 7933.18 | 2.19 | 0.54 | 8128.99 | 1.64 | 1.14 | 58152.43 | 3.77 | 1.04 | 39750.29 | 2.17
| FALSE | 2.5.d | 2024-09-04 10:08 | CalStd | 3 | 2.5 | 3.07 | 4366.22 | 4.79 | 2.54 | 136062.32 | 1.95 | 2.51 | 34361.02 | 1.56 | 2.59 | 96734.74 | 0.27 | 4 | 29766.14 | 1.54 | 2.55 | 119022.38 | 1.17 | 2.54 | 19428.31 | 3.55 | 1.78 | 26903.67 | 1.6 | 2.75 | 140470.17 | 1.75 | 2.57 | 97868.08 | 2.17
| FALSE | 5.d | 2024-09-04 10:11 | CalStd | 4 | 5 | 5.2 | 5985.61 | 3.75 | 4.94 | 264605.93 | 0.87 | 4.95 | 67672.69 | 1.1 | 5.05 | 186979.78 | 0.76 | 5.94 | 42832.1 | 0.51 | 5.01 | 233554.94 | 0.6 | 4.99 | 38136.18 | 1.51 | 3.99 | 60292.15 | 1.79 | 5.33 | 271983.65 | 0.18 | 5.07 | 192823.87 | 0.6
| FALSE | 10.d | 2024-09-04 10:15 | CalStd | 5 | 7.5 | 7.81 | 7968.66 | 3.59 | 7.55 | 404213.6 | 1.89 | 7.55 | 103141.87 | 1.7 | 7.82 | 288595.2 | 1.93 | 8.84 | 62307.85 | 1.85 | 7.73 | 360159.69 | 0.61 | 7.48 | 57112.44 | 0.53 | 7.18 | 108537.84 | 1.9 | 8.26 | 421523.5 | 1.65 | 7.67 | 291788.78 | 0.99
| FALSE | 15.d |  | CalStd | 6 | 10 | 9.87 | 9537.23 | 1.84 | 9.7 | 518869.61 | 1.35 | 9.83 | 134178.77 | 0.72 | 10.16 | 373969.89 | 1.82 | 10.92 | 76353.31 | 2.21 | 10.09 | 470121.79 | 2.35 | 9.9 | 75619.71 | 0.34 | 10.46 | 158086.51 | 3.42 | 10.5 | 536011.53 | 1.42 | 9.94 | 378224.39 | 1.98
| FALSE | 20.d | 2024-09-04 10:22 | CalStd | 7 | 20 | 20.46 | 17589.14 | 1.86 | 20.36 | 1089079.62 | 0.68 | 20.57 | 280754.21 | 1.15 | 20.94 | 769015.87 | 2.45 | 20.78 | 142706.18 | 0.43 | 21.5 | 1001841.08 | 1.74 | 20.64 | 157640.11 | 1.69 | 0.12 | 1787.93 | 3.38 | 22.07 | 1126834.23 | 0.53 | 20.76 | 790178.43 | 1.72
| FALSE | 30.d | 2024-09-04 10:25 | CalStd | 8 | 30 | 29.62 | 24564.32 | 1.1 | 29.97 | 1603097.25 | 0.2 | 29.68 | 404944.12 | 1.58 | 29.79 | 1093142.64 | 1.18 | 29.63 | 202310.54 | 0.34 | 30.9 | 1439864.58 | 0.93 | 29.7 | 226865.85 | 0.93 | 0.05 | 824.49 | 4.6 | 31.38 | 1602260.95 | 0.66 | 29.57 | 1125336.74 | 1.36
| FALSE | 40.d | 2024-09-04 10:28 | CalStd | 9 | 40 | 41.23 | 33395.52 | 2.63 | 40.19 | 2149878.15 | 2.08 | 40.35 | 550434.98 | 0.57 | 40.22 | 1475419.2 | 1.28 | 39.33 | 267595.61 | 0.11 | 39.51 | 1841144.35 | 0.4 | 39.99 | 305439.78 | 1.55 | 0.04 | 576.69 | 7.65 | 39.34 | 2008655.25 | 0.94 | 39.91 | 1518555.29 | 0.7
| FALSE | 50.d | 2024-09-04 10:31 | CalStd | 10 | 50 | 48.99 | 39293.52 | 1.86 | 49.78 | 2663070.19 | 0.53 | 49.72 | 678190.76 | 1.3 | 49.48 | 1814542.8 | 2.01 | 49.87 | 338621.91 | 0.88 | 49.2 | 2292430.1 | 1.09 | 49.96 | 381628.77 | 1.71 | 0.03 | 456.68 | 8.42 | 48.61 | 2481785.76 | 1.31 | 44.96 | 1710950.46 | 0.97
| FALSE | rinse1.d | 2024-09-04 10:33 | Sample |  | rinse1 | <0.000 | 1936.82 | 4.4 | 0 | 317.79 | 5.28 | <0.000 | 166.67 | 20.3 | 0 | 2114.62 | 2.7 | <0.000 | 1843.47 | 3.2 | 0.06 | 2815.86 | 4.32 | 0 | 24.44 | 61.49 | 0.02 | 278.9 | 13.33 | 0.01 | 401.13 | 7.07 | 0 | 126.67 | 11.47
| FALSE | rinse2.d | 2024-09-04 10:36 | Sample |  | rinse2 | 0.05 | 2063.5 | 6.47 | 0 | 238.9 | 9.08 | <0.000 | 134.45 | 7.57 | 0 | 2064.61 | 4.73 | <0.000 | 1860.14 | 6.11 | 0.02 | 1036.72 | 2.25 | <0.000 | 3.33 | 100.05 | 0.01 | 237.78 | 13.33 | 0 | 180.01 | 25.66 | <0.000 | 68.89 | 36.32
| FALSE | rinse3.d | 2024-09-04 10:42 | Sample |  | rinse3 | <0.000 | 2017.95 | 4.02 | 0 | 211.11 | 20.97 | <0.000 | 130 | 23.5 | <0.000 | 1949.05 | 4.18 | <0.000 | 1759.02 | 8.25 | 0.01 | 403.35 | 9.74 | 0 | 7.78 | 24.71 | 0.01 | 213.34 | 36.54 | 0 | 81.11 | 14.44 | <0.000 | 70 | 21.83
| FALSE | rinse4.d | 2024-09-04 10:45 | Sample |  | rinse4 | 0.02 | 2045.72 | 1.73 | <0.000 | 152.23 | 14.58 | <0.000 | 141.12 | 26.13 | <0.000 | 1885.7 | 7.26 | <0.000 | 1640.12 | 5.39 | 0.01 | 331.12 | 5.54 | <0.000 | 2.22 | 86.6 | 0.01 | 168.9 | 6.03 | 0 | 77.78 | 16.23 | <0.000 | 52.22 | 32.76
| FALSE | rinse5.d | 2024-09-04 10:48 | Sample |  | rinse5 | <0.000 | 1972.38 | 3.92 | 0 | 187.79 | 25.25 | <0.000 | 137.78 | 14.58 | 0 | 1990.16 | 6.45 | <0.000 | 1665.68 | 10.14 | 0.01 | 301.12 | 13.35 | 0 | 20 | 33.35 | 0.01 | 148.89 | 14.39 | 0 | 67.78 | 27.97 | <0.000 | 64.45 | 10.76
| FALSE | sample1.d | 2024-09-04 10:51 | Sample |  | 1% Rev. Aqua regia-01-1 | 1.78 | 3385.96 | 3.73 | 0 | 310.01 | 14.94 | 0.02 | 408.91 | 8.64 | 0.09 | 5386.52 | 3.73 | 1.69 | 14181.63 | 1.25 | 0.15 | 7079.45 | 7.65 | 0 | 15.56 | 32.73 | 0.75 | 11334.39 | 10.93 | 0.01 | 365.57 | 8.22 | 0.07 | 2788.09 | 2.31
| FALSE | sample2.d | 2024-09-04 10:54 | Sample |  | 1% Rev. Aqua regia-02 | 0.79 | 2626.92 | 1.33 | 0 | 218.9 | 2.33 | 0.01 | 383.35 | 1.74 | 0.06 | 4009.44 | 1.78 | 2.36 | 18685.95 | 0.26 | 0.03 | 1614.56 | 1.21 | 0 | 8.89 | 114.55 | 0.13 | 1934.62 | 3.72 | 0.01 | 337.79 | 11.69 | 0.06 | 2498.04 | 4.37
| FALSE | sample3.d | 2024-09-04 10:57 | Sample |  | 1% Rev. Aqua regia-03 | 0.38 | 2315.76 | 4.17 | 0 | 240.01 | 15.77 | 0.01 | 366.68 | 4.55 | 0.04 | 3283.73 | 2.69 | 2.02 | 16426.98 | 1.82 | 0.02 | 914.49 | 4.1 | 0 | 13.33 | 49.99 | 0.06 | 990.06 | 7.13 | 0.01 | 302.24 | 3.87 | 0.05 | 2035.74 | 5.4
| FALSE | sample4.d | 2024-09-04 11:00 | Sample |  | 1% Rev. Aqua regia-04 | 0.4 | 2331.33 | 2.94 | 0 | 202.23 | 14.02 | 0.01 | 386.68 | 12.7 | 0.03 | 3131.47 | 2.96 | 1.67 | 14071.56 | 1.74 | 0.01 | 566.69 | 8.24 | 0 | 13.33 | 66.16 | 0.03 | 483.35 | 16.16 | 0.01 | 316.68 | 17.39 | 0.05 | 1962.4 | 5.05
| FALSE | sample5.d | 2024-09-04 11:03 | Sample |  | 1% Rev. Aqua regia-05 | 0.59 | 2474.67 | 2.97 | 0 | 217.79 | 28.44 | 0.01 | 371.12 | 6.62 | 0.03 | 2981.44 | 5.34 | 1.31 | 11661.93 | 3.16 | 0.01 | 485.58 | 11.41 | 0 | 22.22 | 34.66 | 0.03 | 427.79 | 3.84 | 0.01 | 305.57 | 11.97 | 0.04 | 1750.15 | 4.5
| FALSE | sample6.d | 2024-09-04 11:06 | Sample |  | bc01 | 0.72 | 2580.25 | 8.37 | 0.01 | 495.57 | 10.3 | 0.02 | 396.68 | 20.01 | 0.11 | 5952.25 | 2.61 | 2.06 | 16673.86 | 1.58 | 0.01 | 391.12 | 15.86 | <0.000 | 2.22 | 86.6 | 0.02 | 363.35 | 20.49 | 0.01 | 320.01 | 15.35 | 0.04 | 1722.36 | 5.41
| FALSE | sample7.d | 2024-09-04 11:10 | Sample |  | bc02 | 0.82 | 2650.26 | 1.69 | 0 | 430.02 | 4.65 | 0.02 | 395.57 | 0.97 | 0.04 | 3362.62 | 3.3 | 2.34 | 18569.2 | 1.91 | 0.01 | 304.45 | 8.78 | 0 | 17.78 | 28.64 | 0.02 | 328.9 | 12.26 | 0.01 | 332.23 | 9.1 | 0.04 | 1727.91 | 5.08
| FALSE | sample8.d | 2024-09-04 11:13 | Sample |  | bc03 | 0.83 | 2656.93 | 3.27 | 0.01 | 478.91 | 7.76 | 0.02 | 450.02 | 9.71 | 0.12 | 6280.16 | 2.36 | 2.34 | 18546.9 | 1.25 | 0.01 | 277.79 | 20.69 | <0.000 | 4.44 | 43.4 | 0.01 | 221.12 | 6.96 | 0.01 | 303.34 | 8.58 | 0.04 | 1781.26 | 2.23
| FALSE | sample9.d | 2024-09-04 11:15 | Sample |  | bc04 | 1.21 | 2945.87 | 4.2 | 0 | 411.13 | 8.16 | 0.02 | 468.91 | 14.82 | 0.09 | 5174.22 | 1.96 | 3.17 | 24158.3 | 2.37 | 0.01 | 300.01 | 11.76 | 0 | 12.22 | 87.67 | 0.02 | 254.45 | 5.91 | 0 | 271.12 | 9.94 | 0.04 | 1623.46 | 1.79
| FALSE | sample10.d | 2024-09-04 11:18 | Sample |  | bc05 | 0.75 | 2595.82 | 6.75 | 0.02 | 1082.28 | 7.56 | 0.02 | 432.24 | 13.23 | 0.12 | 6381.32 | 0.96 | 3.24 | 24602.28 | 1.25 | 0.01 | 282.23 | 21.27 | 0 | 7.78 | 24.71 | 0.01 | 200.01 | 0 | 0 | 296.68 | 12.15 | 0.04 | 1605.68 | 2.08
| FALSE | sample11.d | 2024-09-04 11:21 | Sample |  | CRM01_1 | 31.42 | 25931.85 | 0.28 | 0.07 | 3959.42 | 1.55 | 0.19 | 2727.5 | 4.01 | 13.44 | 494217.92 | 1.25 | 250.06 | 1686503.85 | 1.65 | 0.13 | 6027.89 | 2.26 | 0.48 | 3652.69 | 4.8 | 0.02 | 241.12 | 12.54 | 0.01 | 328.9 | 20.13 | 0.1 | 3878.92 | 1.98
| FALSE | sample12.d | 2024-09-04 11:25 | Sample |  | CRM02_1 | 30.67 | 25361.01 | 0.52 | 0.06 | 3636.03 | 2.89 | 0.21 | 3038.11 | 6.24 | 13.07 | 480916.44 | 0.41 | 244.3 | 1647734.25 | 0.43 | 0.12 | 5719.99 | 2.51 | 0.44 | 3390.43 | 0.49 | 0.01 | 233.34 | 12.45 | 0.01 | 311.12 | 4.06 | 0.08 | 3244.86 | 6.11
| FALSE | sample13.d | 2024-09-04 11:28 | Sample |  | CRM03_1 | 48.08 | 38599.82 | 1.87 | 0.08 | 4222.83 | 2.91 | 0.22 | 3194.26 | 6.37 | 14.27 | 524833.08 | 0.76 | 266.1 | 1794485.03 | 0.47 | 0.14 | 6340.25 | 0.11 | 0.48 | 3641.6 | 2.11 | 0.01 | 212.23 | 4.8 | 0 | 261.12 | 8.21 | 0.09 | 3647.41 | 10.48
| FALSE | sample14.d | 2024-09-04 11:31 | Sample |  | CRM04_1 | 31.7 | 26142.31 | 2.95 | 0.11 | 6212.37 | 5.69 | 0.21 | 3004.77 | 5.61 | 13.87 | 510021.85 | 0.54 | 254.01 | 1713072.8 | 1.34 | 0.13 | 6132.36 | 1.67 | 0.49 | 3742.73 | 3.17 | 0.02 | 250.01 | 23.59 | 0.01 | 313.35 | 11.85 | 0.09 | 3532.72 | 5.07
| FALSE | sample16.d | 2024-09-04 11:38 | Sample |  | CRM05_1 | 34.15 | 28005.16 | 1.92 | 0.07 | 4148.37 | 4.76 | 0.29 | 4089.46 | 2.51 | 13.48 | 495801 | 0.16 | 250.11 | 1686822.15 | 0.59 | 0.12 | 5777.78 | 3.5 | 0.48 | 3670.49 | 4.46 | 0.01 | 178.9 | 18.67 | 0 | 264.45 | 12.94 | 0.1 | 3861.69 | 3.16
| FALSE | sample17.d | 2024-09-04 11:41 | Sample |  | rinse6 | <0.000 | 2020.16 | 1.9 | <0.000 | 125.56 | 10.73 | <0.000 | 151.12 | 27.93 | <0.000 | 1857.92 | 8.3 | <0.000 | 2419.12 | 2.32 | 0 | 137.78 | 17.5 | 0 | 6.67 | 99.98 | 0 | 31.11 | 37.62 | <0.000 | 35.56 | 14.32 | 0 | 104.45 | 33.52
| FALSE | sample18.d | 2024-09-04 11:44 | Sample |  | CRM01_2 | 31.89 | 26289.07 | 0.46 | 0.07 | 3869.4 | 3.42 | 0.19 | 2774.73 | 6.51 | 13.56 | 498541.61 | 0.97 | 250.81 | 1691549.78 | 0.56 | 0.13 | 5854.51 | 6.72 | 0.46 | 3480.45 | 3.96 | 0.01 | 196.67 | 16.17 | 0 | 244.45 | 16.83 | 0.09 | 3646.07 | 3.89
| FALSE | sample19.d | 2024-09-04 11:47 | Sample |  | CRM02_2 | 30.76 | 25424.52 | 1.65 | 0.07 | 3703.81 | 3.08 | 0.19 | 2830.29 | 4.47 | 12.92 | 475164.57 | 1.6 | 239.95 | 1618389.68 | 1.81 | 0.12 | 5692.21 | 4.91 | 0.46 | 3498.23 | 0.2 | 0.01 | 165.56 | 31.6 | 0 | 282.23 | 2.97 | 0.08 | 3150.4 | 3.39
| FALSE | sample20.d | 2024-09-04 11:50 | Sample |  | CRM03_2 | 48.88 | 39210.16 | 1.34 | 0.07 | 4105.03 | 4.06 | 0.22 | 3163.71 | 1.87 | 14.57 | 535792.47 | 1.08 | 267.88 | 1806436.88 | 0.93 | 0.14 | 6522.53 | 2.94 | 0.49 | 3766.07 | 2.79 | 0.01 | 177.79 | 11.46 | 0.01 | 318.9 | 8.89 | 0.09 | 3484.92 | 3.64
| FALSE | sample21.d | 2024-09-04 11:53 | Sample |  | CRM04_2 | 31.38 | 25899.6 | 0.27 | 0.11 | 6201.25 | 1.31 | 0.2 | 2922.53 | 1.94 | 13.63 | 501292.11 | 0.04 | 251.4 | 1695532.86 | 0.69 | 0.13 | 5987.87 | 3.77 | 0.47 | 3629.37 | 4.72 | 0.01 | 150.01 | 16.78 | 0 | 274.46 | 12.17 | 0.08 | 3111.5 | 8.13
| FALSE | sample23.d | 2024-09-04 12:00 | Sample |  | CRM05_2 | 34.59 | 28343.46 | 3.04 | 0.07 | 4089.46 | 2.85 | 0.29 | 4173.93 | 6.58 | 13.13 | 482834.68 | 0.95 | 247.17 | 1667039.25 | 3.35 | 0.13 | 6014.56 | 5.64 | 0.45 | 3443.76 | 1.77 | 0.01 | 167.78 | 14.37 | 0 | 227.79 | 10.79 | 0.09 | 3537.16 | 5.13
| FALSE | sample24.d | 2024-09-04 12:02 | Sample |  | rinse7 | 0.1 | 2102.4 | 1.65 | <0.000 | 157.78 | 4.88 | <0.000 | 157.78 | 17.59 | <0.000 | 1966.82 | 6.3 | 0.01 | 2859.18 | 2.85 | 0 | 131.11 | 11.46 | 0 | 8.89 | 21.63 | 0 | 32.22 | 26.04 | <0.000 | 37.78 | 22.21 | <0.000 | 75.56 | 25.09